ADAPTER

A Trident (model #01.001.2) rigid 2.5” female NPT x 2.5” male NH chrome plated internal lug long adapter shall be provided.