ADAPTER

A Trident (model #01.S01.2) rigid 2.5” female NPT x 3.000" x 8TPI BCT male brass internal lug adapter shall be provided.