ADAPTER

A Trident (model #01.S01.16) rigid 2.5” female NPT x 3.125" x 5TPI CSA brass internal lug male adapter shall be provided.