ADAPTER

A Trident (model #01.S01.22) rigid 2.5” female NPT x 3.250" x 6TPI WCT brass internal lug male adapter shall be provided.