ADAPTER

A Trident (model #01.S01.17) rigid 2.5” female NPT x 2.990" x 8TPI AMA male chrome plated internal lug adapter shall be provided.