ADAPTER

A Trident (model #01.S01.1) rigid 2.5” female NPT x 3.000" x 8 TPI chrome plated brass internal lug male adapter shall be provided.