ADAPTER

A Trident (model #01.S01.1) rigid 2.5” female NPT x 3.000" x 8TPI BCT male chrome plated internal lug adapter shall be provided.