ADAPTER

A Trident (model #01.S01.11) rigid 2.5” female NPT x 3.062" x 8 TPI chrome plated brass internal lug male adapter shall be provided.