ADAPTER

A Trident model #01.S01.12 rigid 2.5” female NPT x 3.078" x 8TPI chrome plated brass internal lug male adapter shall be provided.