ADAPTER

A Trident (model #01.S01.5) rigid 2.5” female NPT x 3.095" x 6 TPI chrome plated brass internal lug male adapter shall be provided.