ADAPTER

A Trident (model #01.S01.13) rigid 2.5” female NPT x 3.125" x 7.5 TPI chrome plated brass internal lug male adapter shall be provided.