ADAPTER

A Trident model #01.S01.18 rigid 2.5” female NPT x 3.156" x 6TPI chrome plated brass internal lug male adapter shall be provided.