ADAPTER

A Trident (model #01.019.0) rigid 3” female NPT x 3” NH chrome plated brass internal lug male adapter shall be provided.