ADAPTER

A Trident (model #01.064.0) rigid 3” female NPT x 3.5” NH chrome plated brass internal lug male adapter shall be provided.