ADAPTER

A Trident (model #01.039.5) rigid 3” female NPT x 4” NH chrome plated brass internal lug male adapter with strainer shall be provided.