ADAPTER

A Trident (model #01.069.0) rigid 3.5” female NPT x 3.5” NH chrome plated brass rocker lug male adapter shall be provided.