ADAPTER

A Trident (model #01.069.5) rigid 3.5” female NPT x 3.5” NH chrome plated brass rocker lug male adapter with strainer shall be provided.