ADAPTER

A Trident (model #01.052.0) rigid 3.5” female NPT x 4” NH chrome plated brass rocker lug male adapter shall be provided.