ADAPTER

A Trident (model #01.052.5) rigid 3.5” female NPT x 4” NH chrome plated brass rocker lug male adapter with strainer shall be provided.