ADAPTER

A Trident model #01.077.0 rigid 4” female NPT x 3.5” NH chrome plated brass rocker lug male adapter shall be provided.