ADAPTER

A Trident model #01.024.0 rigid 4” female NPT x 4” NH chrome plated brass rocker lug male adapter shall be provided.