ADAPTER

A Trident model #01.033.5 rigid 4” female NPT x 4.5” NH chrome plated brass internal lug male adapter with strainer shall be provided.