ADAPTER

A Trident model #01.034.5 rigid 4” female NPT x 6” NH chrome plated brass internal lug male adapter with strainer shall be provided.