ADAPTER

A Trident model #01.082.0 rigid 5” female NPT x 4” NH chrome plated brass rocker lug male adapter shall be provided.