ADAPTER

A Trident model #01.035.5 rigid 5” female NPT x 4.5” NH chrome plated brass rocker lug male adapter with strainer shall be provided.