ADAPTER

A Trident model #01.026.5 rigid 5” female NPT x 5” NH chrome plated brass rocker lug male adapter with strainer shall be provided.