ADAPTER

A Trident model #01.027.0 rigid 5” female NPT x 6” NH chrome plated brass internal lug male adapter shall be provided.