ADAPTER

A Trident model #01.040.0 rigid 6” female NPT x 4.5” NH chrome plated brass rocker lug male adapter shall be provided.