ADAPTER

A Trident model #01.029.0 rigid 6” female NPT x 5” NH chrome plated brass rocker lug male adapter shall be provided.