ADAPTER

A Trident model #01.028.0 rigid 6” female NPT x 6” NH chrome plated brass rocker lug male adapter shall be provided.