ADAPTER

A Trident model #01.142.0 rigid 1” female hex NPT x .75” female swivel NH chrome plated brass rocker lug adapter with strainer shall be provided.