ADAPTER

A Trident model #01.S30.24 rigid internal lug 2.5” female NPT x 3.230" x 5TPI NSS chrome plated brass rocker lug female swivel adapter with strainer shall be provided.