ADAPTER

A Trident model #01.S30.21 rigid internal lug 2.5” female NPT x 2.968" x 8TPI chrome plated brass rocker lug female swivel adapter with strainer shall be provided.