ADAPTER

A Trident model #01.S30.7 rigid internal lug 2.5” female NPT x 3.055" x 6TPI chrome plated brass rocker lug female swivel adapter with strainer shall be provided.