ADAPTER

A Trident model #01.S30.18 rigid internal lug 2.5” female NPT x 3.093" x 8TPI chrome plated brass rocker lug female swivel adapter with strainer shall be provided.