ADAPTER

A Trident model #01.S30.0 rigid internal lug 2.5” female NPT x 3.175" x 6TPI chrome plated brass rocker lug female swivel adapter with strainer shall be provided.