ADAPTER

A Trident model #01.S19.0 rigid internal lug 2.5” female NPT x 3.187" x 6TPI chrome plated brass rocker lug female swivel adapter with strainer shall be provided.