ADAPTER

A Trident model #01.S31.18 rigid internal lug 3” female NPT x 2.990" x 8TPI AMA chrome plated brass rocker lug female swivel adapter with strainer shall be provided.