ADAPTER

A Trident model #01.S31.2 rigid internal lug 3” female NPT x 3.000" x 8TPI BCT chrome plated brass rocker lug female swivel adapter with strainer shall be provided.