ADAPTER

A Trident model #01.S31.17 rigid internal lug 3” female NPT x 3.031" x 7TPI QST chrome plated brass rocker lug female swivel adapter with strainer shall be provided.