ADAPTER

A Trident model #01.S31.21 rigid internal lug 3” female NPT x 3.250" x 6TPI WCT chrome plated brass rocker lug female swivel adapter with strainer shall be provided.