ADAPTER

A Trident model #01.S31.0 rigid internal lug 3” female NPT x 3.125" x 5TPI BCT chrome plated brass rocker lug female swivel adapter with strainer shall be provided.