ADAPTER

A Trident model #01.070.5 4” female rigid NPT x 4” NH chrome plated brass rocker lug female swivel adapter shall be provided.