ADAPTER

A Trident model #01.067.5 5” female rigid NPT x 4” NH chrome plated brass rocker lug female swivel adapter shall be provided.