ADAPTER

A Trident model #01.078.5 4” female rigid NPT x 2.5” NH chrome plated brass rocker lug female swivel adapter with strainer shall be provided.