ADAPTER

A Trident model #09.034.0 1” male NPT x 1.5” Victaulic brass internal lug adapter shall be provided.