ADAPTER

A Trident model #09.017.3 3” male NPT x 3” Victaulic brass internal lug adapter shall be provided.