ADAPTER

A Trident model #09.047.0 .75” hose barb NPT x .75” female swivel GHT rocker lug chrome plated brass adapter shall be provided.