PANEL ADAPTER

A Trident model #01.147.0 .75” female NPT x .75” male GHT rocker lug chrome plated brass four bolt adapter shall be provided.