ADAPTER

A Trident model #01.107.0 1.5” female NH x 1” rocker lug chrome plated brass NH male adapter shall be provided.